## NXentry
Name | Documentation | Nexus hierarchy | type:units | NX class | Exists | Rank | Dim
experiment_location | City and country where ex. Took place | NXentry:experiment_location | NX_CHAR |  | F | 0 | 0
experiment_start_date | Start date and time of ex. in ISO 8601 format, ideally including UTC offset. | NXentry:experiment_start_date | NX _DATE_TIME |  | F | 0 | 0
experiment_end_date | Start date and time of ex. in ISO 8601 format, ideally including UTC offset. | NXentry:experiment_end_date | NX_DATE_TIME |  | F | 0 | 0
experiment_summary | Descriptive summary of ex. | NXentry:experiment_description | NX_CHAR |  | T | 0 | 0
experiment_documentation | Documents describing the experiment | NXentry:experiment_documentation |  | NXnote | T | 0 | 0
experiment_identifier | Unique identifier for the experiment. | NXentry:experiment_identifier | NX_CHAR |  | T | 0 | 0
experiment_run_cycle | Some facilities organize their beamtime into run cycles. | NXentry:run_cycle | NX_CHAR |  | T | 0 | 0
experiment_institution | Name of the institution hosting the facility | NXentry:experiment_institution | NX_CHAR |  | F | 0 | 0
experiment_facility | Name of the experimental facility | NXentry:experiment_facility | NX_CHAR |  | F | 0 | 0
experiment_laboratory | Name of the laboratory or beamline | NXentry:experiment_laboratory | NX_CHAR |  | F | 0 | 0
title | Title of the entry, referring to a specific measurement. | NXentry:title | NX_CHAR |  | T | 0 | 0
entry_identifier | Identifier of the measurement | NXentry:entry_identifier | NX_CHAR |  | T | 0 | 0
start_time | Start date and time of ex. in ISO 8601 format, ideally including UTC offset. | NXentry:start_time | NX_DATE_TIME |  | T | 0 | 0
end_time | Ending date of the measurement | NXentry:end_time | NX_DATE_TIME |  | T | 0 | 0
duration | Duration of the measurement | NXentry:duration | NX_FLOAT:NX_TIME |  | T | 0 | 0
collection_time | Time spent actually collecting data | NXentry:collection_time | NX_FLOAT:NX_TIME |  | T | 0 | 0
definition | Does the file correspond to a standardized structure? | NXentry:definition | NX_CHAR |  | T | 0 | 0

## NXuser
Name | Documentation | Nexus hierarchy | type:units | NX class | Exists | Rank | Dim
name | Name of user responsible for this entry | NXentry:NXuser:name | NX_CHAR |  | T | 0 | 0
role | Role of user (local contact, principal investigator, etc.) | NXentry:NXuser:role | NX_CHAR |  | T | 0 | 0
affiliation | Affiliation of user | NXentry:NXuser:affiliation | NX_CHAR |  | T | 0 | 0
address | Address of user | NXentry:NXuser:address | NX_CHAR |  | T | 0 | 0
telephone_number | Telephone number of user | NXentry:NXuser:telephone_number | NX_CHAR |  | T | 0 | 0
email | E-mail address of user | NXentry:NXuser:email | NX_CHAR |  | T | 0 | 0
facility_user_id | User identifier defined by the facility | NXentry:NXuser:facility_user_id | NX_CHAR |  | T | 0 | 0

## NXinstrument
Name | Documentation | Nexus hierarchy | type:units | NX class | Exists | Rank | Dim
instrument_name | Name or model of the equipment | NXentry:NXinstrument:name | NX_CHAR |  | T | 0 | 0
attribute | Acronym or other shorthand name | NXentry:NXinstrument:name:\@short_name | NX_CHAR |  | T | 0 | 0

## NXsource
Name | Documentation | Nexus hierarchy | type:units | NX class | Exists | Rank | Dim
name | Name of the source | NXentry:NXinstrument:NXsource:name | NX_CHAR |  | T | 0 | 0
type | Type of radiation source | NXentry:NXinstrument:NXsource:type | NX_CHAR |  | T | 0 | 0
probe | Type of radiation used as probe | NXentry:NXinstrument:NXsource:probe | NX_CHAR |  | T | 0 | 0
photon_energy | The center photon energy of the source, before it is monochromatized or converted | NXentry:NXinstrument:NXsource:photon_energy | NX_FLOAT:NX_ENERGY |  | F | 0 | 0
center_wavelength | The center wavelength of the source, before it is monochromatized or converted | NXentry:NXinstrument:NXsource:center_wavelength | NX_FLOAT:NX_WAVELENGTH |  | F | 0 | 0
pulse_energy | For pulsed sources, the energy of a single pulse | NXentry:NXinstrument:NXsource:pulse_energy | NX_FLOAT:NX_ENERGY |  | F | 0 | 0
peak_power | For pulsed sources, the pulse energy divided by the pulse duration | NXentry:NXinstrument:NXsource:peak_power | NX_FLOAT:NX_POWER |  | F | 0 | 0
power | Average source power | NXentry:NXinstrument:NXsource:power | NX_FLOAT:NX_POWER |  | T | 0 | 0
emittance_x | Horizontal emittance | NXentry:NXinstrument:NXsource:emittance_x | NX_FLOAT:NX_EMITTANCE |  | T | 0 | 0
emittance_y | Vertical emittance | NXentry:NXinstrument:NXsource:emittance_y | NX_FLOAT:NX_ EMITTANCE |  | T | 0 | 0
sigma_x | horizontal beam size | NXentry:NXinstrument:NXsource:sigma_x | NX_FLOAT:NX_LENGTH |  | T | 0 | 0
sigma_y | vertical beam size | NXentry:NXinstrument:NXsource:sigma_y | NX_FLOAT:NX_LENGTH |  | T | 0 | 0
flux | Photon flux of the source | NXentry:NXinstrument:NXsource:flux | NX_FLOAT:NX_FLUX |  | T | 0 | 0
energy | Particle beam energy/excitation voltage | NXentry:NXinstrument:NXsource:energy | NX_FLOAT:NX_ENERGY |  | T | 0 | 0
current | Storage ring current/X-ray tube current | NXentry:NXinstrument:NXsource:current | NX_FLOAT:NX_CURRENT |  | T | 0 | 0
frequency | Pulsed source frequency (repetition rate) | NXentry:NXinstrument:NXsource:frequency | NX_FLOAT:NX_FREQUENCY |  | T | 0 | 0
pulse_width | Duration of the source pulses | NXentry:NXinstrument:NXsource:pulse_width | NX_FLOAT:NX_TIME |  | T | 0 | 0
distribution | Energy/wavelength spectrum of the source | NXentry:NXinstrument:NXsource:distribution |  | NXdata | T | 2 | 0
number_of_bunches | Number of bunches in the storage ring | NXentry:NXinstrument:NXsource:number_of_bunches | NX_INT |  | T | 0 | 0
bunch_length | Temporal length of the bunch | NXentry:NXinstrument:NXsource:bunch_length | NX_FLOAT:NX_TIME |  | T | 0 | 0
bunch_distance | Time between bunches | NXentry:NXinstrument:NXsource:bunch_distance | NX_FLOAT:NX_TIME |  | T | 0 | 0
mode | Source operating mode (single or multi bunch) | NXentry:NXinstrument:NXsource:mode | NX_CHAR |  | T | 0 | 0
top_up | Is the storage ring in top up? | NXentry:NXinstrument:NXsource:top_up | NX_BOOLEAN |  | T | 0 | 0
bunch_pattern | Plottable description of the bunch pattern | NXentry:NXinstrument:NXsource:bunch_pattern |  | NXdata | T | 0 | 0
rms_jitter | For pump-probe experiments, the synchronization error between pump and probe. | NXentry:NXinstrument:NXsource:rms_jitter | NX_FLOAT:NX_TIME |  | T | 0 | 0
bunch_number_start | Some facilities tag each bunch. First bunch of the measurement | NXentry:NXinstrument:NXsource:bunch_number_start | NX_INT |  | F | 0 | 0
bunch_number_end | Last bunch of the measurement | NXentry:NXinstrument:NXsource:bunch_number_end | NX_INT |  | F | 0 | 0

## NXbeam
Name | Documentation | Nexus hierarchy | type:units | NX class | Exists | Rank | Dim
distance | Distance from the diagnostic point | NXentry:NXinstrument:NXbeam:distance | NX_FLOAT:NX_LENGTH |  | T | 0 | 0
pulse_energy | Energy of a single pulse at the diagnostic point | NXentry:NXinstrument:NXbeam:pulse_energy | NX_FLOAT:NX_ENERGY |  | F | 0 | 0
average_power | Average power at the diagnostic point | NXentry:NXinstrument:NXbeam:average_power | NX_FLOAT:NX_POWER |  | F | 0 | 0
incident_energy | In the case of a monchromatic beam this is the scalar energy. Several other use cases are permitted, depending on the presence of other incident_energy_X fields. In the case of a polychromatic beam this is an array of length m of energies, with the relative weights in incident_energy_weights. In the case of a monochromatic beam that varies shot-to-shot, this is an array of energies, one for each recorded shot. Here, incident_energy_weights and incident_energy_spread are not set. In the case of a polychromatic beam that varies shot-to-shot, this is an array of length m with the relative weights in incident_energy_weights as a 2D array. In the case of a polychromatic beam that varies shot-to-shot and where the channels also vary, this is a 2D array of dimensions nP by m (slow to fast) with the relative weights in incident_energy_weights as a 2D array. Note, variants are a good way to represent several of these use cases in a single dataset, e.g. if a calibrated, single-value energy value is available along with the original spectrum from which it was calibrated. | NXentry:NXinstrument:NXbeam:incident_energy | NX_FLOAT:NX_ENERGY |  | F | 0 | 0
incident_energy_spread | The wavelength spread FWHM for the corresponding energy(ies) in incident_energy. In the case of shot-to-shot variation in the energy spread, this is a 2D array of dimension nP by m (slow to fast) of the spreads of the corresponding wavelength in incident_wavelength. | NXentry:NXinstrument:NXbeam:incident_energy_spread | NX_NUMBER:NX_ENERGY |  | F | 0 | 0
incident_energy_weights | In the case of a polychromatic beam this is an array of length m of the relative weights of the corresponding energies in incident_energy. In the case of a polychromatic beam that varies shot-to-shot, this is a 2D array of dimensions np by m (slow to fast) of the relative weights of the corresponding energies in incident_energy. | NXentry:NXinstrument:NXbeam:incident_energy_weights | NX_NUMBER:NX_ENERGY |  | F | 0 | 0
incident_wavelenght | In the case of a monchromatic beam this is the scalar wavelength. Several other use cases are permitted, depending on the presence of other incident_wavelength_X fields. In the case of a polychromatic beam this is an array of length m of wavelengths, with the relative weights in incident_wavelength_weights. In the case of a monochromatic beam that varies shot-to-shot, this is an array of wavelengths, one for each recorded shot. Here, incident_wavelength_weights and incident_wavelength_spread are not set. In the case of a polychromatic beam that varies shot-to-shot, this is an array of length m with the relative weights in incident_wavelength_weights as a 2D array. In the case of a polychromatic beam that varies shot-to-shot and where the channels also vary, this is a 2D array of dimensions nP by m (slow to fast) with the relative weights in incident_wavelength_weights as a 2D array. Note, variants are a good way to represent several of these use cases in a single dataset, e.g. if a calibrated, single-value wavelength value is available along with the original spectrum from which it was calibrated. | NXentry:NXinstrument:NXbeam:incident_wavelength | NX_NUMBER:NX_WAVELENGTH |  | F | 0 | 0
incident_wavelenght_spread | The wavelength spread FWHM for the corresponding wavelength(s) in incident_wavelength. In the case of shot-to-shot variation in the wavelength spread, this is a 2D array of dimension nP by m (slow to fast) of the spreads of the corresponding wavelenght in incident_wavelenght. | NXentry:NXinstrument:NXbeam:incident_wavelenght_spread | NX_NUMBER:NX_WAVELENGTH |  | F | 0 | 0
incident_wavelength_weights | In the case of a polychromatic beam this is an array of length m of the relative weights of the corresponding wavelengths in incident_wavelength. In the case of a polychromatic beam that varies shot-to-shot, this is a 2D array of dimensions np by m (slow to fast) of the relative weights of the corresponding wavelengths in incident_wavelength. | NXentry:NXinstrument:NXbeam:incident_wavelength_weights | NX_NUMBER:NX_WAVELENGTH |  | F | 0 | 0
incident_polarization | Incident polarization as a Stokes vector | NXentry:NXinstrument:NXbeam:incident_polarization | NX_FLOAT:NX_ANY |  | F | 1 | [1,4]
attribute | The units for this observable are not included in the NIAC list. Responsibility on correct formatting and parsing is handed to the user by using 'NX_ANY'. Correct parsing can still be implemented by using this attribute. Fill with: The unit unidata symbol if the unit has one (Example: 'T' for the unit of magnetic flux density tesla). The unit unidata name if the unit has a name (Example: 'farad' for capacitance). A string describing the units according to unidata unit operation notation, if the unit is a complex combination of named units and does not have a name. Example: for lightsource brilliance (SI) '1/(s.mm2.mrad2)'. Here: SI units are 'V2/m2'. | NXentry:NXinstrument:NXbeam:incident_polarization:\@units | NX_CHAR |  | F | 0 | 0
extent | Beam size vector describing the beam waist FWHM in two perpendicular directions. | NXentry:NXinstrument:NXbeam:extent | NX_FLOAT:NX_LENGTH |  | F | 1 | [1,2]
fluence | Incident fluence at the diagnostic point | NXentry:NXinstrument:NXbeam:fluence | NX_FLOAT:NX_ANY |  | F | 0 | 0
attribute | Here: SI units are 'J/m2', customary 'mJ/cm2'. | NXentry:NXinstrument:NXbeam:fluence:\@units | NX_CHAR |  | F | 0 | 0
pulse_duration | FWHM duration of the pulses at the diagnostic point | NXentry:NXinstrument:NXbeam:pulse_duration | NX_FLOAT:NX_TIME |  | F | 0 | 0
chirp_spectrum | Spectrum of pulse frequency vs time. | NXentry:NXinstrument:NXbeam:chirp_spectrum |  | NXdata | F | 2 | [1,nx],[1,nx]
chirp_type | The type of chirp implemented | NXentry:NXinstrument:NXbeam:chirp_type | NX_CHAR |  | F | 0 | 0
chirp_GDD | Group delay dispersion of the pulse for linear chirp | NXentry:NXinstrument:NXbeam:chirp_GDD | NX_FLOAT:NX_TIME |  | F | 0 | 0
flux | flux incident on beam plane area at the diagnostic point | NXentry:NXinstrument:NXbeam:flux | NX_FLOAT:NX_FLUX |  | T | 0 | 0

## NXmonochromator
Name | Documentation | Nexus hierarchy | type:units | NX class | Exists | Rank | Dim
energy | Central energy | NXentry:NXinstrument:NXmonochromator:energy | NX_FLOAT:NX_ENERGY |  | T | 0 | 0
energy_errors | Energy standard deviation | NXentry:NXinstrument:NXmonochromator:energy_error | NX_CHAR |  | T | 0 | 0
distribution | Spectrum or live diagnostic | NXentry:NXinstrument:NXmonochromator:distribution |  | NXdata | T | 2 | [1,nx],[1,nx]

## NXmanipulator
Name | Documentation | Nexus hierarchy | type:units | NX class | Exists | Rank | Dim
name | Name | NXentry:NXinstrument:NXmanipulator:name | NX_CHAR |  | F | 0 | 0
description | Description | NXentry:NXinstrument:NXmanipulator:description | NX_CHAR |  | F | 0 | 0
type | Type of manipulator, Hexapod, Rod, etc. | NXentry:NXinstrument:NXmanipulator:type | NX_CHAR |  | F | 0 | 0
coordinates | Coordinates of the manipulator position (x,y,z) | NXentry:NXinstrument:NXmanipulator:coordinates | NX_FLOAT:NX_LENGTH |  | F | 1 | [1,ncoord]
angles | Angles of the manipulator orientation (polar,tilt,azimuth) | NXentry:NXinstrument:NXmanipulator:angles | NX_FLOAT:NX_ANGLE |  | F | 1 | [1,nangles]
coordinate_values | Effective positions assumed by the manipulator during the measurement. | NXentry:NXinstrument:NXmanipulator:coordinate_values | NX_FLOAT:NX_LENGTH |  | F | 2 | [ncoord,npos]
angle_values | Effective angles assumed by the manipulator during the measurement. | NXentry:NXinstrument:NXmanipulator:angle_values | NX_FLOAT:NX_ANGLE |  | F | 2 | [nangles,npos]
cryocoolant | Is cryocoolant flowing through the manipulator? | NXentry:NXinstrument:NXmanipulator:cryocoolant | NX_BOOL |  | F | 0 | 0
cryostat_temperature | Temperature of the cryostat (coldest point) | NXentry:NXinstrument:NXmanipulator:cryostat_temperature | NX_FLOAT:NX_TEMPERATURE |  | F | 0 | 0
heater_power | Power in the heater for temperature control. | NXentry:NXinstrument:NXmanipulator:heater_power | NX_FLOAT:NX_POWER |  | F | 0 | 0
sample_temperature | Temperature at the closest point to the sample | NXentry:NXinstrument:NXmanipulator:sample_temperature | NX_FLOAT:NX_TEMPERATURE |  | F | 0 | 0
drain_current | Current to neutralize the photoemission current | NXentry:NXinstrument:NXmanipulator:drain_current | NX_FLOAT:NX_CURRENT |  | F | 0 | 0
sample_bias | Possible bias of the sample with trespect to analyser ground | NXentry:NXinstrument:NXmanipulator:sample_bias | NX_FLOAT:NX_CURRENT |  | F | 0 | 0
POSITIONER | class to describe the motors that are used in the manipulator | NXentry:NXinstrument:NXmanipulator:POSITIONER |  | NXpositioner | F | 0 | 0
TRANSFORMATIONS | class to describe the transformations used. | NXentry:NXinstrument:NXmanipulator:TRANSFORMATIONS |  | NXtransformations | F | 0 | 0

## NXelectronanalyser
Name | Documentation | Nexus hierarchy | type:units | NX class | Exists | Rank | Dim
description | Free text description of the type of the detector | NXentry:NXinstrument:NXelectronanalyser:description | NX_CHAR |  | F | 0 | 0
name | Name or model of the equipment | NXentry:NXinstrument:NXelectronanalyser:name | NX_CHAR |  | F | 0 | 0
attribute | Acronym or other shorthand name | NXentry:NXinstrument:NXelectronanalyser:name:\@short_name | NX_CHAR |  | F | 0 | 0
energy_resolution | Overall energy resolution (FWHM of gaussian broadening) | NXentry:NXinstrument:NXelectronanalyser:energy_resolution | NX_FLOAT:NX_ENERGY |  | F | 0 | 0
momentum_resolution | Overall momentum resolution (FWHM) | NXentry:NXinstrument:NXelectronanalyser:momentum_resolution | NX_FLOAT:NX_WAVEVECTOR |  | F | 0 | 0
angular_resolution | Overall angular resolution (FWHM) | NXentry:NXinstrument:NXelectronanalyser:angular_resolution | NX_FLOAT:NX_ANGLE |  | F | 0 | 0
spatial_resolution | Overall spatial resolution (Airy disk radius) | NXentry:NXinstrument:NXelectronanalyser:spatial_resolution | NX_FLOAT:NX_LENGTH |  | F | 0 | 0
fast_axes | List of the axes that are acquired symultaneously by the detector. These refer only to the experimental variables recorded by the electron analyser. Other variables such as temperature, manipulator angles etc. are labeled as fast or slow in the data. Examples. Hemispherical in ARPES mode: fast_axes: [energy,kx] Hemispherical with channeltron, sweeping energy mode: slow_axes: [energy] Tof: fast_axes: [energy, kx, ky] Momentum microscope, spin-resolved: fast_axes: [energy, kx, ky] slow_axes: [spin up-down, spin left-right] axes can be less abstract than this, i.e. [detector_x, detector_y]. If energy_scan_mode=sweep, fast_axes: [energy, kx]; slow_axes: [energy] is allowed. | NXentry:NXinstrument:NXelectronanalyser:fast_axes | NX_CHAR |  | F | 1 | [1,nfa]
slow_axes | List of the axes that are acquired by scanning a physical parameter, listed in order of decreasing speed. See fast_axes for examples. | NXentry:NXinstrument:NXelectronanalyser:slow_axes | NX_CHAR |  | F | 1 | [1,nsa]
COLLECTION_COLUMN | class to describe the electron collection (spatial and momentum imaging) column | NXentry:NXinstrument:NXelectronanalyser:COLLECTION_COLUMN |  | NXcollectioncolumn | F | 0 | 0
ENERGY_DISPERSION | class to describe the energy dispersion section | NXentry:NXinstrument:NXelectronanalyser:ENERGY_DISPERSION |  | NXenergydispersion | F | 0 | 0
SPIN_DISPERSION | class to describe the spin dispersion section | NXentry:NXinstrument:NXelectronanalyser:SPIN_DISPERSION |  | NXspindispersion | F | 0 | 0
DETECTOR | class to describe the electron detector | NXentry:NXinstrument:NXelectronanalyser:DETECTOR |  | NXdetector | F | 0 | 0
DEFLECTOR | deflectors in the collection column section | NXentry:NXinstrument:NXelectronanalyser:DEFLECTOR |  | NXdeflector | F | 0 | 0
LENS | Individual lenses in the collection column section | NXentry:NXinstrument:NXelectronanalyser:LENS |  | NXlens | F | 0 | 0

## NXcollectioncolumn
Name | Documentation | Nexus hierarchy | type:units | NX class | Exists | Rank | Dim
scheme | Scheme of the electron collection lens, i.e. standard, deflector, PEEM, momentum microscope, etc. | NXentry:NXinstrument:NXelectronanalyser:NXcollectionlens:scheme | NX_CHAR |  | F | 0 | 0
extractor_voltage | Voltage applied to the extractor lens | NXentry:NXinstrument:NXelectronanalyser:NXcollectionlens:extractor_voltage | NX_FLOAT:NX_VOLTAGE |  | F | 0 | 0
extractor_current | Indicating leakage, field emission or arc currents to the extractor lens | NXentry:NXinstrument:NXelectronanalyser:NXcollectionlens:extractor_current | NX_FLOAT:NX_CURRENT |  | F | 0 | 0
working_distance | Distance between sample and detector entrance | NXentry:NXinstrument:NXelectronanalyser:NXcollectionlens:working_distance | NX_FLOAT:NX_LENGTH |  | F | 0 | 0
mode | Labelling of a standard lens setting | NXentry:NXinstrument:NXelectronanalyser:NXcollectionlens:mode | NX_CHAR |  | T | 0 | 0
lens_names | Set of names of electron optic lenses | NXentry:NXinstrument:NXelectronanalyser:NXcollectionlens:lens_names | NX_CHAR |  | F | 1 | [1,nl]
lens_voltages | Array of corresponding voltages | NXentry:NXinstrument:NXelectronanalyser:NXcollectionlens:lens_voltages | NX_FLOAT:NX_VOLTAGE |  | F | 1 | [1,nl]
projection | The space projected in the angularly dispersive directions, real or reciprocal | NXentry:NXinstrument:NXelectronanalyser:NXcollectionlens:projection | NX_CHAR |  | F | 0 | 0
magnification | The magnification of the projected image in the angularly dispersive direction | NXentry:NXinstrument:NXelectronanalyser:NXcollectionlens:magnification | NX_FLOAT:NX_DIMENSIONLESS |  | F | 0 | 0
field_aperture | The size and position of the field aperture inserted in the column | NXentry:NXinstrument:NXelectronanalyser:NXcollectionlens:field_aperture |  | NXaperture | F | 0 | 0
contrast_aperture | The size and postion of the contrast aperture inserted in the column. | NXentry:NXinstrument:NXelectronanalyser:NXcollectionlens:contrast_aperture |  | NXaperture | F | 0 | 0
DEFLECTOR | deflectors in the collection column section | NXentry:NXinstrument:NXelectronanalyser:NXcollectioncolumn:DEFLECTOR |  | NXdeflector | F | 0 | 0
LENS | Individual lenses in the collection column section | NXentry:NXinstrument:NXelectronanalyser:NXcollectioncolumn:LENS |  | NXlens | F | 0 | 0

## NXenergydispersion
Name | Documentation | Nexus hierarchy | type:units | NX class | Exists | Rank | Dim
scheme | tof, hemispherical, cylindrical, mirror, retarding grid, etc. | NXentry:NXinstrument:NXelectronanalyser:NXenergydispersion:scheme | NX_CHAR |  | F | 0 | 0
pass_energy | Pass energy in dispersive electrodes | NXentry:NXinstrument:NXelectronanalyser:NXenergydispersion:pass_energy | NX_FLOAT:NX_ENERGY |  | F | 0 | 0
center_energy | Center of the energy window | NXentry:NXinstrument:NXelectronanalyser:NXenergydispersion:center_energy | NX_FLOAT:NX_ENERGY |  | F | 0 | 0
energy_interval | The interval of transmitted energies. It can be two different things depending on whether the scan is fixed or swept. With a fixed scan it is a 2 vector containing the extrema of the transmitted energy window (smaller number first). With a swept scan of m steps it is a 2xm array of windows one for each measurement point. | NXentry:NXinstrument:NXelectronanalyser:NXenergydispersion:energy_interval | NX_FLOAT:NX_ENERGY |  | F | 0 | 0
entrance_slit | Size, position and shape of the entrance slits in dispersive analyzers | NXentry:NXinstrument:NXelectronanalyser:NXenergydispersion:entrance_slit |  | NXaperture | F | 0 | 0
exit_slit | Size, position and shape of the exit slits in dispersive analyzer | NXentry:NXinstrument:NXelectronanalyser:NXenergydispersion:exit_slit |  | NXaperture | F | 0 | 0
diameter | Diameter of the dispersive orbit | NXentry:NXinstrument:NXelectronanalyser:NXenergydispersion:diameter | NX_FLOAT:NX_LENGTH |  | F | 0 | 0
energy_scan_mode | fixed or sweep | NXentry:NXinstrument:NXelectronanalyser:NXenergydispersion:energy_scan_mode | NX_CHAR |  | F | 0 | 0
tof_distance | Length of the tof drift electrode | NXentry:NXinstrument:NXelectronanalyser:NXenergydispersion:tof_distance | NX_FLOAT:NX_LENGTH |  | F | 0 | 0
DEFLECTOR | deflectors in the energy dispersive section | NXentry:NXinstrument:NXelectronanalyser:NXenergydispersion:DEFLECTOR |  | NXdeflector | F | 0 | 0
LENS | Individual lenses in the energy dispersive section | NXentry:NXinstrument:NXelectronanalyser:NXenergydispersion:LENS |  | NXlens | F | 0 | 0

## NXspindispersion
Name | Documentation | Nexus hierarchy | type:units | NX class | Exists | Rank | Dim
spin_filter_type | Type of spin detector, VLEED, SPLEED, Mott, etc. | NXentry:NXinstrument:NXelectronanalyser:NXspindispersion:spin_filter_type | NX_CHAR |  | F | 0 | 0
spin_FoM | Figure of merit of the spin detector | NXentry:NXinstrument:NXelectronanalyser:NXspindispersion:spin_filter_FoM | NX_FLOAT:NX_DIMENSIONLESS |  | F | 0 | 0
spin_shermann_function | Effective Shermann function, calibrated spin selectivity factor | NXentry:NXinstrument:NXelectronanalyser:NXspindispersion:spin_filter_shermann_function | NX_FLOAT:NX_DIMENSIONLESS |  | F | 0 | 0
spin_scattering_energy | Energy of the spin-selective scattering | NXentry:NXinstrument:NXelectronanalyser:NXspindispersion:spin_scattering_energy | NX_FLOAT:NX_ENERGY |  | F | 0 | 0
spin_scattering_angle | Angle of the spin-selective scattering | NXentry:NXinstrument:NXelectronanalyser:NXspindispersion:spin_scattering_angle | NX_FLOAT:NX_ANGLE |  | F | 0 | 0
spin_target | Name of the target | NXentry:NXinstrument:NXelectronanalyser:NXspindispersion:spin_target | NX_CHAR |  | F | 0 | 0
spin_target_preparation | Preparation procedure of the spin target | NXentry:NXinstrument:NXelectronanalyser:NXspindispersion:spin_target_preparation | NX_CHAR |  | F | 0 | 0
spin_target_preparation_date | Date of last preparation of the spin target | NXentry:NXinstrument:NXelectronanalyser:NXspindispersion:spin_target_preparation_date | NX_DATE_TIME |  | F | 0 | 0
DEFLECTOR | deflectors in the spin dispersive section | NXentry:NXinstrument:NXelectronanalyser:NXspindispersion:DEFLECTOR |  | NXdeflector | F | 0 | 0
LENS | Individual lenses in the spin dispersive section | NXentry:NXinstrument:NXelectronanalyser:NXspindispersion:LENS |  | NXlens | F | 0 | 0

## NXdetector
Name | Documentation | Nexus hierarchy | type:units | NX class | Exists | Rank | Dim
amplifier_type | Type of electron amplifier, MCP, channeltron, etc. | NXentry:NXinstrument:NXelectronanaliser:NXdetector:amplifier_type | NX_CHAR |  | F | 0 | 0
detector_type | Description of the detector type, DLD, Phosphor+CCD, CMOS. | NXentry:NXinstrument:NXelectronanaliser:NXdetector:detector_type | NX_CHAR |  | F | 0 | 0
detector_voltage | Voltage applied to detector. | NXentry:NXinstrument:NXelectronanaliser:NXdetector:detector_voltage | NX_FLOAT:NX_VOLTAGE |  | F | 0 | 0
amplifier_voltage | Voltage applied to the amplifier. | NXentry:NXinstrument:NXelectronanaliser:NXdetector:amplifier_voltage | NX_FLOAT:NX_VOLTAGE |  | F | 0 | 0
amplifier_bias | The low voltage of the amplifier migh not be the ground. | NXentry:NXinstrument:NXelectronanaliser:NXdetector:amplifier_bias | NX_FLOAT:NX_VOLTAGE |  | F | 0 | 0
sensor_size | Size of each imaging sensor chip on the detector. | NXentry:NXinstrument:NXelectronanaliser:NXdetector:sensor_size | NX_FLOAT:NX_LENGTH |  | F | 0 | 0
sensor_count | Number of imaging sensor chips on the detector. | NXentry:NXinstrument:NXelectronanaliser:NXdetector:sensor_count | NX_INT:NX_UNITLESS |  | F | 0 | 0
sensor_pixel_size | Physical size of the pixels of the imaging chip on the detector. | NXentry:NXinstrument:NXelectronanaliser:NXdetector:sensor_pixel_size | NX_FLOAT:NX_LENGTH |  | F | 0 | 0
sensor_pixels | Number of raw active elements in each dimension. Important for swept scans. | NXentry:NXinstrument:NXelectronanaliser:NXdetector:sensor_pixels | NX_INT:NX_UNITLESS |  | F | 0 | 0
DATA | raw data output from the detector | NXentry:NXinstrument:NXelectronanalyser:NXdetector:DATA |  | NXdata | F | 0 | 0

## NXsample
Name | Documentation | Nexus hierarchy | type:units | NX class | Exists | Rank | Dim
name | Simple and descriptive name of the sample | NXentry:NXsample:name | NX_CHAR |  | T | 0 | 0
sample_id | Identification number or signatures of the sample used. | NXentry:NXsample:sample_id | NX_CHAR |  | F | 0 | 0
sample_history | A descriptor to keep track of the treatment of the sample before entering the photoemission experiment. Ideally, a full report of the previous operations, in any format (NXnote allows to add pictures, audio, movies). Alternatively, a reference to the location or a unique identifier or other metadata file. In the case these are not available, free-text description | NXentry:NXsample:sample_history |  | NXnote | F | 0 | 0
preparation_description | Description of the surface preparation technique for the XPS experiment, i.e. UHV cleaving, in-situ growth, sputtering/annealing etc. Ideally, a full report of the operations, in any format (NXnote allows to add pictures, audio, movies). Alternatively, a reference to the location or a unique identifier or other metadata file. In the case these are not available, free-text description. | NXentry:NXsample:sample_history |  | NXnote | F | 0 | 0
state | Physical state of the sample | NXentry:NXsample: state | NX_CHAR |  | F | 0 | 0
purity | Chemical purity of the sample | NXentry:NXsample: purity | NX_FLOAT:NX_UNITLESS |  | F | 0 | 0
surface_orientation | Surface termination of the sample (if crystalline) | NXentry:NXsample: orientation | NX_CHAR |  | F | 0 | 0
layer | Number of layers of the sample (e.g. bulk, monolayer, pentalayer, etc.) | NXentry:NXsample: layer | NX_CHAR |  | F | 0 | 0
space_group | Space group of the sample (if crystalline) | NXentry:NXsample: space_group | NX_CHAR |  | T | 0 | 0
chemical_formula | Chemical formula of the sample | NXentry:NXsample: chemical_formula | NX_CHAR |  | T | 0 | 0
chemical_name | Full chemical name of the sample | NXentry:NXsample: chemical_name | NX_CHAR |  | F | 0 | 0
chem_id_cas | CAS registry number of the sample chemical content. | NXentry:NXsample: chem_id_cas | NX_CHAR |  | F | 0 | 0
temperature | Temperature of the sample. In the case of a fixed temperature measurement this is the scalar temperature of the sample. In the case of an experiment in which the temperature is changed and recorded in m steps, this is an array of length m of temperatures. In the case in which the temperature is logged vs timestamps, temperature can be used as a NXlog object too. | NXentry:NXsample:temperature | NX_FLOAT:NX_TEMPERATURE |  | T | 0 | 0
drain_current | Current to neutralize the photoemission current | NXentry:NXsample:drain_current | NX_FLOAT:NX_CURRENT |  | T | 0 | 0
pressure | Pressure of gas surrounding the sample at time of measurement. In the case of a fixed pressure measurement this is the scalar pressure of the sample. In the case of an experiment in which the pressure is changed and recorded in m steps, this is an array of length m of pressures. In the case in which the pressure is logged vs timestamps, pressure can be used as a NXlog object too. | NXentry:NXsample: pressure | NX_FLOAT:NX_PRESSURE |  | T | 0 | 0
gas | Gases might be fluxed on the surface for various reasons. Chemical designation, or residual. | NXentry:NXsample: gas | NX_CHAR |  | F | 0 | 0
electric_field | Electric field applied across the sample. Different from sample_bias. | NXentry:NXsample:electric_field | NX_FLOAT:NX_VOLTAGE |  | T | 0 | 0
attribute | Vector determining the direction of the electric field | NXentry:NXsample:electric_field:\@direction | NX_FLOAT:NX_VOLTAGE |  | T | 1 | [1,3]
magnetic_field | Magnetic field applied to the sample during the measurement. | NXentry:NXsample:magnetic_field | NX_FLOAT:NX_ANY |  | T | 0 | 0
attribute | Vector determining the direction of the magnetic field | NXentry:NXsample:magnetic_field:\@direction | NX_FLOAT:NX_ANY |  | T | 1 | [1,3]
stress_field | Stress field applied to the sample during the measurement. | NXentry:NXsample:stress_field | NX_FLOAT:NX_PRESSURE |  | T | 0 | 0
attribute | Vector determining the direction of the stress field | NXentry:NXsample:magnetic_field:\@direction | NX_FLOAT:NX_PRESSURE |  | T | 1 | [1,3]
thickness | Sample thickness | NXentry:NXsample:thickness | NX_FLOAT:NX_LENGTH |  | T | 0 | 0
surface_dopant | Element of evaporated surface dopant such as alkali or other | NXentry:NXsample:surface_dopant | NX_CHAR |  | F | 0 | 0
surface_dopant_coverage | Nominal thickness of the evaporated dopant | NXentry:NXsample:surface_dopant_coverage | NX_FLOAT:NX_LENGTH |  | F | 0 | 0
bias | Voltage applied to sample and sample holder. | NXentry:NXsample:bias | NX_FLOAT:NX_VOLTAGE |  | F | 0 | 0
drain_current | Drain current due to photoemission | NXentry:NXsample:drain_current | NX_FLOAT:NX_CURRENT |  | F | 0 | 0
growth_method | Sample growth method (e. g. molecular beam epitaxy, chemical vapor deposition etc.) | NXentry:NXsample:growth_method | NX_CHAR |  | F | 0 | 0
preparation_date | Date of sample preparation | NXentry:NXsample:preparation_date | NX_DATE_TIME |  | T | 0 | 0
vendor | Name of the sample vendor (company or research group) | NXentry:NXsample:vendor | NX_CHAR |  | F | 0 | 0
substrate_material | Material of the substrate in direct contact with the sample. | NXentry:NXsample:substrate_material | NX_CHAR |  | F | 0 | 0
substrate_state | Physical state of the substrate, similar options to sample_state | NXentry:NXsample:substrate_state | NX_CHAR |  | F | 0 | 0
substrate_vendor | Vendor of the substrate material | NXentry:NXsample:substrate_material | NX_CHAR |  | F | 0 | 0
sample_notes | Further notes. | NXentry:NXsample:notes |  | NXnote | F | 0 | 0

## NXprocess
Name | Documentation | Nexus hierarchy | type:units | NX class | Exists | Rank | Dim
program | Name of the processing program or script | NXentry:NXprocess:program | NX_CHAR |  | T | 0 | 0
version | Version of the program or script | NXentry:NXprocess:version | NX_CHAR |  | T | 0 | 0
sequence_index | Sequence of transformations applied to the data, as some are non-commutative | NXentry:NXprocess:sequence_index | NX_CHAR |  | T | 0 | 0
REGISTRATION | Class to describe the operations of image registration | NXentry:NXprocess:REGISTRATION |  | NXregistration | F | 0 | 0
DISTORTION | class to describe the operations of image distrortion correction | NXentry:NXprocess:DISTORTION |  | NXdistortion | F | 0 | 0
CALIBRATION | class to describe the operations of calibration | NXentry:NXprocess:CALIBRATION |  | NXcalibration | F | 0 | 0

## NXdistortion
Name | Documentation | Nexus hierarchy | type:units | NX class | Exists | Rank | Dim
applied | Has the distortion correction been applied? | NXentry:NXprocess:NXdistortion:applied | NX_BOOL |  | F | 0 | 0
symmetry | For symmetry-guided distortion correction (https://www.sciencedirect.com/science/article/abs/pii/S0304399118303474?via%3Dihub), where a pattern of features is mapped to the regular geometric structure expected from the symmetry. Here we record the number of elementary symmetry operations. | NXentry:NXprocess:NXdistortion:symmetry | NX_INT:NX_UNITLESS |  | F | 0 | 0
original_centre | For symmetry-guided distortion correction. Here we record the coordinates of the symmetry centre point. | NXentry:NXprocess:NXdistortion:original_centre | NX_FLOAT:NX_UNITLESS |  | F | 1 | [1,2]
original_points | For symmetry-guided distortion correction. Here we record coordinates of the relevant symmetry points. | NXentry:NXprocess:NXdistortion:original_points | NX_FLOAT:NX_UNITLESS |  | F | 1 | [2,nsym]
Field | For general non-rigid distortion corrections. 2D matrix mapping the original distorted field in the undistorted one. | NXentry:NXprocess:NXdistortion:field | NX_FLOAT:NX_UNITLESS |  | F | 1 | [ndx,ndy]
COLLECTION | Class to describe freely the procedures employed. | NXentry:NXprocess:NXcalibration:COLLECTION |  | NXcollection | F | 0 | 0

## NXregistration
Name | Documentation | Nexus hierarchy | type:units | NX class | Exists | Rank | Dim
applied | Has the registration been applied? | NXentry:NXprocess:NXregistration:applied | NX_BOOL |  | F | 0 | 0
new_centre | Coordinates of the new centre point. | NXentry:NXprocess:NXregistration:new_centre | NX_FLOAT:NX_UNITLESS |  | F | 1 | [1,2]
rotation_centre | Coordinates of the rotation centre. | NXentry:NXprocess:NXregistration:rotation_centre | NX_FLOAT:NX_UNITLESS |  | F | 1 | [1,2]
scaling | Scaling factor to compensate shrinking from distortion correction. | NXentry:NXprocess:NXregistration:scaling | NX_FLOAT:NX_DIMENSIONLESS |  | F | 1 | [1,2]
TRANSFORMATION | To describe the operations of image registration (combinations of rigid translations and rotations) | NXentry:NXprocess:NXregistration:TRANSFORMATION |  | NXtransformation | F | 0 | 0
COLLECTION | Class to describe freely the procedures employed. | NXentry:NXprocess:NXcalibration:COLLECTION |  | NXcollection | F | 0 | 0

## NXcalibration
Name | Documentation | Nexus hierarchy | type:units | NX class | Exists | Rank | Dim
applied | Has the calibration been applied? | NXentry:NXprocess:NXcalibration:applied | NX_BOOL |  | F | 0 | 0
coefficients | For non-linear energy calibrations, e.g. in a TOF, a polynomial function is fit to a set of features (peaks) at well defined energy positions to determine E(TOF). Here we can store the array of fit coefficients. | NXentry:NXprocess:NXcalibration:coefficients | NX_FLOAT:NX_ANY |  | F | 1 | [1,ncoeff]
fit_function | For non-linear energy calibrations. Here we can store the formula of the fit function. | NXentry:NXprocess:NXcalibration:fit_function | NX_CHAR |  | F | 0 | 0
scaling | For linear calibration. Scaling parameter. | NXentry:NXprocess:NXcalibration:scaling | NX_FLOAT:NX_ANY |  | F | 0 | 0
offset | For linear calibration. Offset parameter. | NXentry:NXprocess:NXcalibration:offset | NX_FLOAT:NX_ANY |  | F | 0 | 0
calibrated_axis | A vector representing the axis after calibration, matching the data length | NXentry:NXprocess:NXcalibration:calibrated_axis | NX_FLOAT:NX_ANY |  | F | 1 | [1,ncal]
conversion_table | 2 vectors, representing how the raw points get mapped on the calibrated axis. | NXentry:NXprocess:NXcalibration:conversion_table | NX_FLOAT:NX_ANY |  | F | 2 | [1,ncal],[1,ncal]
COLLECTION | Class to describe freely the procedures employed. | NXentry:NXprocess:NXcalibration:COLLECTION |  | NXcollection | F | 0 | 0

## NXaperture
Name | Documentation | Nexus hierarchy | type:units | NX class | Exists | Rank | Dim
description | Description of the type of aperture, i.e. slit, pinhole, iris | NXentry:NXinstrument:NXaperture:description | NX_CHAR |  | T | 0 | 0
shape | Shape of the aperture, i.e. straight or curved for slits, circle, square hexagon, octagon, bladed for pinholes and irises. | NXentry:NXinstrument:NXaperture:shape | NX_CHAR |  | F | 0 | 0
size | The relevant dimension for the aperture, i.e. slit width, pinhole and iris diameter | NXentry:NXinstrument:NXaperture:size | NX_NUMBER:NX_LENGTH |  | F | 0 | 0